## GridCap
* Grid line capacities in GW, plus some other parameters; a few lines have flow constraints
~TFM_INS
LimType | Attribute | Year | Value | Pset_PN |  |  |  | Laura | red
| PRC_CAPACT |  | 8.76 | L_N* |  |  | CAP2ACT | Saranya | blue
UP | NCAP_BND | 2023 | 0 | L_N* |  |  | no new capacity in 2020 | Sofia | green
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N1_N6 | FCH-VTS |  | External connections | Yagmur | orange
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 19.5 | L_N3_N5 | VIT-STQ
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N3_N1 | VIT-FCH
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N3_N23 | VIT-CGR |  | Internal connections
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N23_N9 | CGR-PVM
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N4_N7 | VTO-ALE
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N4_N27 | VTO-PMO
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N4_N12 | VTO-LDR
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N13_N21 | RDJ-PRZ
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N13_N20 | RDJ-SVC
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 | L_N20_N12 | SVC-LDR (SVC-BDC-LRL-LDR)
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 | L_N20_N27 | SVC-PMO (SVC - BDC - PMO
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N20_N25 | SVC-PDJ
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 6.96 | L_N12_N11 | LDR-CTS
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 14 | L_N12_N10 | LDR-LDM
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 | L_N11_N21 | CTS-PRZ
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 35.28 | L_N16_N22 | MCH-CNL
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N16_N24 | MCH-SSR
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 47.36 | L_N16_N19 | MCH-PFE
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 | L_N16_N17 | MCH-AEP-CAN
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.8 | L_N16_N18 | MCH-AEP-LIV
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N10_N9 | LDM-PVM
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N9_N28 | PVM-SDA | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N9_N27 | PVM-PMO | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 | L_N17_N18 | CAN-LIV | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N17_N19 | CAN-PFE | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N18_N19 | LIV-PFE | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N24_N14 | SSR-LDF | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 | L_N14_N15 | LDF-STA | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 31.2 | L_N1_N19 | PFE-FCH | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | 43.52 | L_N1_N6 | FCH-VTS | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N2_N26 | AMP-SJO | #REF!
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N2_N4 | AMP-VTO
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N5_N6 | STQ-VTS
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N7_N8 | VIV-DerALE
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N8_N26 | VIV-SJO |  | 0.8
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N8_N19 | VIV-PFE
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N12_N3 | LDR-VIT
| PRC_RESID | 2023,2025, 2030, 2035, 2040 | #REF! | L_N10_N20 | LDM-SVC (BDC-SVC)
*

## GridLoss
* NO grid losses,
.
TFM_DINS
TimeSlice | LimType | Attribute | Year | Other_Indexes | AllRegions | value | Pset_Set | Pset_PN | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Cset_CD | IRE_FLOSUM | Z
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N6 |  | -0.03 |  | L_N1_N6 |  |  |  | ELC_N6
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N5 |  | -0.03 |  | L_N3_N5 |  |  |  | ELC_N5
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N1 |  | -0.03 |  | L_N3_N1 |  |  |  | ELC_N1
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N23 |  | -0.03 |  | L_N3_N23 |  |  |  | ELC_N23
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N9 |  | -0.03 |  | L_N23_N9 |  |  |  | ELC_N9
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N7 |  | -0.03 |  | L_N4_N7 |  |  |  | ELC_N7
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N27 |  | -0.03 |  | L_N4_N27 |  |  |  | ELC_N27
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N12 |  | -0.03 |  | L_N4_N12 |  |  |  | ELC_N12
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N21 |  | -0.03 |  | L_N13_N21 |  |  |  | ELC_N21
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N20 |  | -0.03 |  | L_N13_N20 |  |  |  | ELC_N20
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N12 |  | -0.03 |  | L_N20_N12 |  |  |  | ELC_N12
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELCN27 |  | -0.03 |  | L_N20_N27 |  |  |  | ELCN27
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N25 |  | -0.03 |  | L_N20_N25 |  |  |  | ELC_N25
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N11 |  | -0.03 |  | L_N12_N11 |  |  |  | ELC_N11
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N10 |  | -0.03 |  | L_N12_N10 |  |  |  | ELC_N10
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N21 |  | -0.03 |  | L_N11_N21 |  |  |  | ELC_N21
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N22 |  | -0.03 |  | L_N16_N22 |  |  |  | ELC_N22
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N24 |  | -0.03 |  | L_N16_N24 |  |  |  | ELC_N24
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N16_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N17 |  | -0.03 |  | L_N16_N17 |  |  |  | ELC_N17
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N18 |  | -0.03 |  | L_N16_N18 |  |  |  | ELC_N18
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N9 |  | -0.03 |  | L_N10_N9 |  |  |  | ELC_N9
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N28 |  | -0.03 |  | L_N9_N28 |  |  |  | ELC_N28
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N27 |  | -0.03 |  | L_N9_N27 |  |  |  | ELC_N27
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N18 |  | -0.03 |  | L_N17_N18 |  |  |  | ELC_N18
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N17_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N18_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N14 |  | -0.03 |  | L_N24_N14 |  |  |  | ELC_N14
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N15 |  | -0.03 |  | L_N14_N15 |  |  |  | ELC_N15
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N1_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N26 |  | -0.03 |  | L_N1_N26 |  |  |  | ELC_N26
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N6 |  | -0.03 |  | L_N1_N6 |  |  |  | ELC_N6
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N26 |  | -0.03 |  | L_N2_N26 |  |  |  | ELC_N26
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N4 |  | -0.03 |  | L_N2_N4 |  |  |  | ELC_N4
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N6 |  | -0.03 |  | L_N5_N6 |  |  |  | ELC_N6
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N8 |  | -0.03 |  | L_N7_N8 |  |  |  | ELC_N8
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N7_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N26 |  | -0.03 |  | L_N8_N26 |  |  |  | ELC_N26
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N8_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N3 |  | -0.03 |  | L_N12_N3 |  |  |  | ELC_N3
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N20 |  | -0.03 |  | L_N10_N20 |  |  |  | ELC_N20
Note on H51: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H52: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H53: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H54: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H55: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H56: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H57: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H58: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H59: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H60: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H61: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H62: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H63: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H64: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H65: Antti L: Losses disabled before 2030, just for reproducing the benchmark results