## GridCap
* Grid line capacities in GW, plus some other parameters; a few lines have flow constraints
~TFM_INS
TimeSlice | LimType | Attribute | Year | Value | Pset_Set | Pset_PN | Laura | red
|  | PRC_CAPACT |  | 8.76 |  | L_N* | Saranya | blue
| UP | NCAP_BND | 2023 | 0 |  | L_N* | Sofia | green
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 43.52 |  | L_N1_N6 | Yagmur | orange
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N3_N5
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 43.52 |  | L_N3_N1
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N3_N23
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N23_N9
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 47.36 |  | L_N4_N7
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 47.36 |  | L_N4_N27
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 47.36 |  | L_N4_N12
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 5.2 |  | L_N13_N21
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N13_N20
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 10.112 |  | L_N20_N12
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 10.112 |  | L_N20_N27
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.48 |  | L_N20_N25
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 5.568 |  | L_N12_N11
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 11.2 |  | L_N12_N10
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 10.112 |  | L_N11_N21
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 28.224 |  | L_N16_N22
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.48 |  | L_N16_N24
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 10.112 |  | L_N16_N19
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 |  | L_N16_N17
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 |  | L_N16_N18
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N10_N9
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N9_N28
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N9_N27
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 |  | L_N17_N18
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N17_N19
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N18_N19
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N24_N14
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N14_N15
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 31.2 |  | L_N1_N19
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 43.52 |  | L_N1_N6
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 56.56 |  | L_N2_N26
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 56.56 |  | L_N2_N4
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 15.6 |  | L_N5_N6
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 35.28 |  | L_N7_N8
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 39.44 |  | L_N8_N26
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 35.28 |  | L_N8_N19
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 47.36 |  | L_N12_N3
|  | PRC_RESID | 2023,2025, 2030, 2035, 2040 | 12.64 |  | L_N10_N20
*

## GridLoss
* NO grid losses,
.
TFM_DINS
TimeSlice | LimType | Attribute | Year | Other_Indexes | AllRegions | value | Pset_Set | Pset_PN | Pset_CI | Pset_CO | Cset_Set | Cset_CN | Cset_CD | IRE_FLOSUM | Z
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N6 |  | -0.03 |  | L_N1_N6 |  |  |  | ELC_N6
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N5 |  | -0.03 |  | L_N3_N5 |  |  |  | ELC_N5
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N1 |  | -0.03 |  | L_N3_N1 |  |  |  | ELC_N1
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N23 |  | -0.03 |  | L_N3_N23 |  |  |  | ELC_N23
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC3_N9 |  | -0.03 |  | L_N23_N9 |  |  |  | ELC3_N9
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N7 |  | -0.03 |  | L_N4_N7 |  |  |  | ELC_N7
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N27 |  | -0.03 |  | L_N4_N27 |  |  |  | ELC_N27
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N12 |  | -0.03 |  | L_N4_N12 |  |  |  | ELC_N12
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N21 |  | -0.03 |  | L_N13_N21 |  |  |  | ELC_N21
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N20 |  | -0.03 |  | L_N13_N20 |  |  |  | ELC_N20
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N12 |  | -0.03 |  | L_N20_N12 |  |  |  | ELC_N12
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELCN27 |  | -0.03 |  | L_N20_N27 |  |  |  | ELCN27
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N25 |  | -0.03 |  | L_N20_N25 |  |  |  | ELC_N25
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N11 |  | -0.03 |  | L_N12_N11 |  |  |  | ELC_N11
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N10 |  | -0.03 |  | L_N12_N10 |  |  |  | ELC_N10
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N21 |  | -0.03 |  | L_N11_N21 |  |  |  | ELC_N21
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N22 |  | -0.03 |  | L_N16_N22 |  |  |  | ELC_N22
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N24 |  | -0.03 |  | L_N16_N24 |  |  |  | ELC_N24
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N16_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N17 |  | -0.03 |  | L_N16_N17 |  |  |  | ELC_N17
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N18 |  | -0.03 |  | L_N16_N18 |  |  |  | ELC_N18
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N9 |  | -0.03 |  | L_N10_N9 |  |  |  | ELC_N9
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N28 |  | -0.03 |  | L_N9_N28 |  |  |  | ELC_N28
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N27 |  | -0.03 |  | L_N9_N27 |  |  |  | ELC_N27
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N18 |  | -0.03 |  | L_N17_N18 |  |  |  | ELC_N18
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N17_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N18_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N14 |  | -0.03 |  | L_N24_N14 |  |  |  | ELC_N14
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N15 |  | -0.03 |  | L_N14_N15 |  |  |  | ELC_N15
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N1_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N26 |  | -0.03 |  | L_N1_N26 |  |  |  | ELC_N26
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N6 |  | -0.03 |  | L_N1_N6 |  |  |  | ELC_N6
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N26 |  | -0.03 |  | L_N2_N26 |  |  |  | ELC_N26
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N4 |  | -0.03 |  | L_N2_N4 |  |  |  | ELC_N4
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N6 |  | -0.03 |  | L_N5_N6 |  |  |  | ELC_N6
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N8 |  | -0.03 |  | L_N7_N8 |  |  |  | ELC_N8
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N7_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N26 |  | -0.03 |  | L_N8_N26 |  |  |  | ELC_N26
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N19 |  | -0.03 |  | L_N8_N19 |  |  |  | ELC_N19
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N3 |  | -0.03 |  | L_N12_N3 |  |  |  | ELC_N3
ANNUAL |  | IRE_FLOSUM | 2023 | IMP~OUT~ELC_N20 |  | -0.03 |  | L_N10_N20 |  |  |  | ELC_N20
Note on H51: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H52: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H53: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H54: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H55: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H56: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H57: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H58: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H59: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H60: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H61: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H62: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H63: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H64: Antti L: Losses disabled before 2030, just for reproducing the benchmark results
Note on H65: Antti L: Losses disabled before 2030, just for reproducing the benchmark results